## ET
Eddy Current Testing - Level 1 | Eddy Current Testing - Level 2 | Examination
Eddy Current Testing Level I Topical Outline | Eddy Current Testing Level II Topical Outline
1.0 Review of Electromagnetic Theory
1.0 Introduction to Eddy Current Testing
1.1 Historical and developmental process | 2.0 Factors That Affect Coil Impedance
1.2 Basic physics and controlling principles | (Test part, Conductivity, Permeability, Mass, Homogeneity, Test system, Frequency, Coupling, Field strength, Test coil and shape, Hall elements)
3.0 Signal-to-Noise Ratio
2.0 Electromagnetic Theory
2.1.1 Generation of eddy currents by means of an AC field | 4.0 Selection of Test Frequency
2.1.2 Effect of fields created by eddy currents (impedance changes)
2.1.3 Effect of change of impedance on instrumentation | 5.0 Coupling (Fill factor, Lift-off)
2.1.4 Properties of eddy current
6.0 Field Strength and Its Selection
3.0 Types of Eddy Current Sensing Elements
3.1 Probes | 7.0 Instrument Design Considerations
3.1.1 Types of arrangements (Probe coils, Encircling coils , Inside coils) | (Single & Multi Frequency, Amplification, Phase detection, Differentiation of filtering)
3.1.2 Modes of operation ( Absolute, Differential, Hybrids )
3 1.3 Theory of operation | 8.0 Explanation of Standards and Specifications used in Eddy Current Testing.
3.1.4 Hall Effect sensors
3.1.5Applications ( Measurement of material properties , Flaw detection , Geometrical features) | 9.0 Calibration and Acceptance Standard.
3.1.6 Advantages
3.1.7 Limitation | 10.0 Practical Application & Training
3.1.8Factors affecting choice of sensing elements | 10.1 Surface & Near Surface Flaw Detection
(Type of part, Type of discontinuities, Speed of testing, Amount of testing, Probable location of discontinuity) | 10.2 Plating & Coating
10.3. Cladding & Wall Thickness
4.0 Selection of Inspection Parameters | 10.4 Hardness & Heat Treatment
(Frequency, Current / voltage, Channel gain, Display sensitivity selections, Standardization, Filtering, Thresholds) | 10.4 Tube Inspection
5.0 Readout Mechanisms
6.0 Practical Training
6.1 Filter effects on reference standards.
6.2 Lift – off effects.
6.3 Frequency effects.
6.4 Rotational & forward speed effects.
6.5 Generate a Z-Curve with conductivity standards.
Eddy Current Testing
Leak Testing
Infrared
Ultrasonic Testing
Magnetic Particle Testing
Penetrant Testing
Radiographic Testing
Visual Testing
Basic Matallurgy