## IR
Infrared Thermography - Level 1 | Infrared Thermography - Level 2 | Examination
Thermal/ lnfrared Testing Level I Topical Outline | Thermal/ lnfrared Testing Level II Topical Outline
Basic Thermal/Infrared Physics | Intermediate Thermal/lnfrared Physics
1.0 The nature of heat - what is it and how is it measured/expressed? | 1.0 Basic Calculations in the Three Modes of Heat Transfer
(Instrumentation, Scales and conversions) | 1.1 Conduction
1 .2 Convection
1.3 Radiation
2.0 Temperature - what is it and how is it measured/expressed?
(Instrumentation, Scales and conversions) | 2.0 The Infrared Spectrum (Planck’s law/curves)
3.0 Heat Transfer Modes Familiarization | 3.0 Radiosity Problems
3.1 Heat conduction fundamentals | 3.1 Blackbodies - theory and concepts
3.2 Heat convection fundamentals
3.3 Heat radiation fundamentals | 3.2 Emissivity problems
3.3 Calculation of emissivity, reflectivity, and transmissivity (practical use of Kirchoff’s law)
4.0 Radiosity Concepts Familiarization | 3.4 Reflectivity problem
4.1 Reflectivity | (Quantifying effects of unavoidable reflections, Theoretical corrections)
4.2 Transmissivity | 3.5 Transmissivity problem
4.3 Absorptivity
4.4 Emissivity | 4.0 Resolution Tests and Calculations
4.5 Infrared radiometri and imaging
4.6 Spatial resolution concepts | Intermediate Thermal/ lnfrared Operation
4.7 Error potential in radiant measurements (an overview)
5.0 Operating for Infrared Measurements (quantification)
5.0 Basic Thermal/Infrared Operation Introduction
5.1 Thermography defined | 6.0 Operating for High-Speed Data Collection
5.2 How infrared imagers work
5.3 Differences among imagers and alternative equipment | 7.0 Operating Special Equipment for “Active” Techniques
5.4 Operation of infrared thermal imager
5.5 Operation of support equipment for infrared surveys | 8.0 Reports and Documentation
6.0 Checking Equipment Calibration with Black Body References | 9.0 Intermediate Thermal/ lnfrared Applications
7.0 Infrared Image and Documentation Quality | 9.1 Temperature Measurement Applications
7.1 Elements of a good infrared image | 9.2 Energy Loss Analysis Applications
(Clarity (focus), Dynamic range of the image, Recognizing and dealing with reflections, Recognizing and dealing with spurious convection) | (Conduction losses through envelopes, Mass-transfer heat exchange (air or other flows into or out of the system))
9.3 “Active” Applications
7.2 Recording | ( Insulation flaws, De-Lamination of composites, Bond quality of coatings, Location of high heat-capacity components )
9.4 Filtered Applications
8.0 Support Data Collection | ( Sunlight, Furnace interiors, Semi-transparent targets )
8.1 Environmental data | 9.5 Transient Applications
8.2 Emissivity (Measurement, Estimation, Surface modification) | ( Imaging a rapidly moving process, Imaging from a vehicle)
8.3 Surface reference temperatures
8.4 Identification and other | 10. Codes/ Standards/ Specification for Infrared/ Thermal
9.0 Basic Thermal/lnfrared Applications
9.1 Detecting Thermal Anomalies Resulting from Differences in Thermal Resistance (Quasi -Steady-State Heat Flow)
( Large surface-to-ambient temperature difference, Small surface-to-ambient temperature difference)
9.2 Detecting Thermal Anomalies Resulting from Differences in Thermal Capacitance, Using System or Environmental Heat Cycles
9.3 Detecting Thermal Anomalies Resulting from Differences in Physical State
9.4 Detecting Thermal Anomalies Resulting from Fluid Flow Problems
9.5 Detecting Thermal Anomalies Resulting from Friction
9.6 Detecting Thermal Anomalies Resulting from Non-homogeneous Exothermic or Endothermic Conditions
9.7 Field Quantification of Point Temperatures
(Simple techniques for emissivity, Typical (high emissivity) applications, Special problem of low emissivity applications)