## LT
Leak Testing - Level 1 | Leak Testing - Level 2 | Examination
Leak Testing Level I Topical Outline | Leak Testing Level II Topical Outline
1.0 Introduction | 1.0 Introduction
1.1 History of leak testing | 1.1 Leak testing fundamentals
1.2 Reasons for leak testing | 1.2 Leak testing standards
1.3 Functions of leak testing | 1.2.1 Leak standards
1.4 Training and certification | 1.3 Leak testing safety
2.0 Leak Testing Fundamentals | 1 .4 Leak testing procedure
2.1 Terminology | 1.5 Leak testing specifications
2.2 Leak testing units | 1.6 Detector/instrument performance factors
2.3 Physical units in leak testing
2.4 Leak testing standards | 2.0 Physical Principles in Leak Testing
2.5 Flow characteristics | 2.1 Physical quantities
2.6 Vacuum fundamentals | 2.2 Structure of matter
2.7 Vacuum system operation | 2.3 Gas principles and laws
2.8 Vacuum system characteristics | 2.4 Gas properties
2.8.1 General
2.8.2 Vacuum Pumps | 3.0 Principles of Gas Flow
a. Mechanical pumps (positive displacement) | (Standard leaks, Capillary, Permeation)
b. Vapor (diffusion) pumps | 3.1 Modes of gas flow
c. Sublimation pumps (getter pumps) | (Molecular and viscous, Transitional, Laminar, turbulent, sonic)
d. Ion pumps | 3.2 Factors affecting gas flow
e. Turbomolecular pumps | 3.3 Geometry of leakage path
f. Absorption pumps | (Mean free flow of fluid, Clogging and check valve effects, Irregular aperture size, Leak rate vs. cross section of flow, Temperature and atmospheric conditions, Velocity gradient vs. Viscosity, Reynolds number vs. Knudsen number)
g. Cryopumps
3.0 Safety in Leak Testing | 4.0 Pressure and Vacuum Technology
Note: It is recommended that the trainee, as well as all other leak testing personnel, receive instruction in this course prior to performing work in leak testing. | 4.1 Properties of a fluid
3.1 Safety Considerations | 4.2 Gas properties
3.2 Safety Precautions | 4.3 Pressurization
3.3 Explosive/implosive hazards | 4.4 Leak testing background/noise variables
3.4 Pressure Precautions | 4.5 Detector/instrument performance variables
3.5 Safety Devices | 4.6 Measurement and data documentation
3.6 Hazardous and Tracer Gas Safety
3.7 Types of Monitoring Equipment | 5.0 Vacuum Technology
4.0 Leak Testing Methods | 5.1 Nature of vacuum
a. Bubble testing. | 5.2 Vacuum measurement
b. Ultrasonic testing
c. Voltage discharge testing | 5.3 Vacuum pumps
d. Pressure leak testing | 5.4 Vacuum materials
e. Ionization | 5.5 Design of a vacuum system
f. Conductivity | 5.6 Maintenance and cleanliness
g. Radiation Absorption | 5.7 Analysis and documentation
h. Chemical – based
i. Halogen detector | 6.0 Choice of Leak Testing Procedure & Practical Training
j. Pressure change measurement | 6.1. Basic categories of leak testing
k. Mass spectrometer | (Leak location, Leakage measurement, Leakage monitoring)
l. Radioisotope | 6.2 Types of leak testing methods
5.0 Advantages and limitations | (Specifications, Sensitivity)
6.3 Basic techniques
(Pressurization or evacuation, Sealed unit with or without tracer gases, Probing or visual leak location, Tracer or detector probing, Accumulation techniques)